## Slide 1
8 Off
8_On_RES
2_Off
32 On
32 Off
64_On_RES
2_On
4Off
4On
Sum
Fitting
Fitting
Fitting
Fitting
Fitting
32 On
32 Off
64_On_RES
2_On
4Off
4On
On
Off
Off
On
Diff
32 On
32 Off
64_On_RES
2_On
4Off
4On
32 On
32 Off
64_On_RES
2_On
4Off
4On
Off
Fsl_mrs_preproc
Fsl_mrs_preproc
Fsl_mrs_preproc
Fsl_mrs_preproc
QuantificationError: Metabolite reference ['Cr', 'PCr'] has not been fit (conc=0). Please choose another or refine fit first.
Scan parameters
Used for all preproc
TR 3000 ms
TE 68.00 ms
ON editing pulse = 1.90 ppm
OFF editing pulse = 7.50 ppm
Acquisition: 4 blocks of 64 scans (32 “EDIT OFF” and 32 “EDIT ON”)
VAPOR. Water suppr.
Data structure
or